Fire Fighting Appliances

|  | M/V Date: |  |
| --- | --- | --- |
| A1 Fire Main |
|  | The following items checked and found in condition……… | Good | Fail | Remarks |
| A1.1 | Operational Test of each main Fire Pump | ( | ( |  |
| A1.2 | Pressure gauges are in good order | ( | ( |  |
| A1.3 | Check the condition of Fire Main piping and couplings under pressure | ( | ( |  |
| B1 | Fire Hoses - Hydrants – Nozzles | Hoses | Hydrants | Nozzles |
|  | Number (as per the Fire Control): |  |  |  |
|  | Number of Spares |  |  |  |
|  | The following items checked and found in condition……… | Good | Fail | Good | Fail | Good | Fail |
| B1.1 | Fire main valves are in good operational condition | ( | ( | ( | ( | ( | ( |  |  |
| B1.2 | Stowage boxes of Fire hoses and Nozzles easily usable/identifiable | ( | ( | ( | ( | ( | ( |  |  |
| B1.3 | Check Fire Hydrants, Hoses and Nozzles under pressure no leakage | ( | ( | ( | ( | ( | ( |  |  |
| B1.4 | Spanners are available in each cabinet | Yes / no |
| B1.5 | International Shore Connection with one gasket packing + set of bolds | Yes / no |
| 2 | Emergency Fire Pump |  |
|  | The following items checked and found in condition……… | Good | Fail | Remarks |
| 2.1 | Operational test of the pump with sufficient pressure | ( | ( |  |
| 2.2 | Simultaneously charging of two hoses with satisfactory jets of water | ( | ( |  |
| 2.3 | Local and Remote start whenever available. | ( | ( |  |
| 2.4 | Check the pump in function all its fittings | ( | ( |  |
| 2.5 | Air starting bottle to be full and without damages. | ( | ( |  |
| 2.6 | Fuel tank capacity sufficient for 3 hours | ( | ( |  |
| 2.7 | Start instructions to be posted. Crew be familiar with the operation | ( | ( |  |
| 2.8 | Date Last Tested |  |  |  |  |
| 3 | Fire Extinguishers |  |
| A | Fixed Fire Protection Systems |  |
|  | The following items checked and found in condition……… | Good | Fail | Remarks |
| A3.1 | Visual inspection of Fire and Foam Lines. | ( | ( |  |
| A3.2 | All valves to be operated (open-close) on deck and in system Room. | ( | ( |  |
| A3.3 | Foam Motor and Pump to be checked the working condition . | ( | ( |  |
| A3.4 | Operation instructions to be posted. Crew be familiar | ( | ( |  |
| A3.5 | Foam/Fire lines and room marked accordingly. | ( | ( |  |
| A3.6 | Foam/Fire valves painted WHITE/RED and RED accordingly. | ( | ( |  |
| A3.7 | Foam room properly marked, adequate ventilated with sufficient light. | ( | ( |  |
| A3.8 | Check condition of CO2 cylinders, pipes and valves | ( | ( |  |
| A3.9 | Safety devices as Horn Alarms and ventilators Auto Cut Off. | ( | ( |  |
| A3.10 | Date last inspected |  |  |  |  |
| B | Portable/Semi-portable Fire Extinguishers | Water | Foam | Powder | CO2 |
|  | Number (As per the fire Plan): |  |  |  |  |
|  | The following items checked and found in condition……… | Good | Fail | Good | Fail | Good | Fail | Good | Fail |
| B3.1 | Check the cylinders and fittings condition | ( | ( | ( | ( | ( | ( | ( | ( |
| B3.2 | Stored in their assigned positions | ( | ( | ( | ( | ( | ( | ( | ( |
| B3.3 | Check the availability of sufficient Spare parts. | ( | ( | ( | ( | ( | ( | ( | ( |
| B3.4 | Check date of last service which must be labeled accordingly | ( | ( | ( | ( | ( | ( | ( | ( |
| B3.5 | Operating instructions posted | ( | ( | ( | ( | ( | ( | ( | ( |
| 4 | Other Fire Appliance |  |
| A | Fire Dampers |  |
|  | The following items checked and found in condition……… | Good | Fail | Remarks |
| A4.1 | Check condition of operating devices, located in various spaces | ( | ( |  |
| A4.2 | All Dampers are properly marked and identified | ( | ( |  |
| A4.3 | Test of Operation of the manoueuvring devices to the "Closed" position | ( | ( |  |
| A4.4 | Check the integrity of the system to provide the required seal | ( | ( |  |

| B | Quick-Closing devices |  |
| --- | --- | --- |
|  | The following items checked and found in condition……… | Good | Fail | Remarks |
| B4.1 | Operational Test of Quick closing device of F.O. Valves | ( | ( |  |
| B4.2 | Operational Test of Remote stopping of F.O. pumps. | ( | ( |  |
| B4.3 | Operational Test of Remote stopping of Fans | ( | ( |  |
| B4.4 | Closing arrangements for skylights. | ( | ( |  |
| B4.5 | Closing arrangements for Ventilation ducts for Engine/Boiler room. | ( | ( |  |
| B4.6 | Crew is familiar and aware of the position of the remote controls | ( | ( |  |
| B4.7 | If valves operated by air, check pressure gauge and air cylinder pressure | ( | ( |  |
| B4.8 | Date last tested |  |  |  |  |
| C | Means of Escape |  |
| C4.1 | Ensure no obstructions or other items stored | ( | ( |  |
| C4.2 | Lighting, steps and handrails in good condition | ( | ( |  |
| D | Fire Doors |  |
| D4.1 | Ensure no obstructions or other items stored | ( | ( |  |
| D4.2 | Self-closing doors are not fitted with hold-back hooks | ( | ( |  |
| 5 | Fireman's Outfit | Set 1 | Set 2 |
|  | The following items checked and found in condition……… | Good | Fail | Remarks |
| 5.1 | Stowed in accordance the fire plan | ( | ( |  |
| 5.2 | Check for Protective clothing. | ( | ( |  |
| 5.3 | Check for Boots and Gloves. | ( | ( |  |
| 5.4 | Check for Helmet. | ( | ( |  |
| 5.5 | Check for Safety Lamp. | ( | ( |  |
| 5.6 | Check for Axe. | ( | ( |  |
| 5.7 | Spare air cylinders available | ( | ( |  |
| 5.8 | Check for fireproof Life Line. | ( | ( |  |
| 5.9 | Breathing Apparatus condition | ( | ( |  |
| 5.10 | Self-Contained compressed air operated apparatus | ( | ( |  |
| 5.11 | Smoke helmet or mask with air pump and air hoses available | ( | ( |  |
| 5.12 | Date Last Tested |  |  |  |  |
| 6 | Fire and/or Smoke Detection |  |
| 6.1 | Operational condition | ( | ( |  |
| 6.2 | Piping system condition | ( | ( |  |
| 6.3 | Alarm condition | ( | ( |  |
| 7 | Fire Plans / Instructions |  |
|  | The following items checked and found in condition……… | Yes | No | Remarks |
| 7.1 | Fire Control Plan posted in the Accommodation | ( | ( |  |
| 7.2 | Fire Control Plan available in the entrances, in water tight container. | ( | ( |  |
| 7.3 | Instructions of using above equipment posted. | ( | ( |  |
| 7.4 | Necessary Signs (SOLAS requirement) posted. | ( | ( |  |
| 7.5 | Instructions for maintenance and operation of all fire fighting and life Saving equipment and installations to be available. | ( | ( |  |

Remarks:

| Officer in Charge: | Master: |
| --- | --- |

| For Office Use Received by: | Checked by: |
| --- | --- |